## Slide 1
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Distributed Control of Multi Agent Systems
Seminar 1
“ Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks “
Published in:
2017 IEEE Conference on Control Technology and Applications (CCTA)
Mohammad Mahmoodian 810196391

## Slide 2
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Main Problem
Augmented Lagrangian
Decentralized Lagrangian
1/17

## Slide 3
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Dual residual at iteration k + 1
Primal residual at iteration k + 1
Alternating Direction Method of Multipliers (ADMM)
Stopping criteria:
Stopping criteria
2/17

## Slide 4
Consensus in ADMM
ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Global Variable Consensus Optimization
Updating
3/17

## Slide 5
Consensus in ADMM
ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Average (over i = 1,...,N), the z-update can be written
Substituting the first equation into the second shows that.
Using
4/17

## Slide 6
Consensus in ADMM
ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
General Form Consensus
which means that local variable component corresponds to global variable component .
5/17

## Slide 7
Consensus in ADMM
ADMM
Blockchain
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Problem
Lagrangian
After the first iteration
is fully separable in its components
6/17

## Slide 8
Blockchain
ADMM
Consensus in ADMM
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Blockchain
7/17

## Slide 9
Blockchain
ADMM
Consensus in ADMM
Smart Contract
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
How Blockchain works
8/17

## Slide 10
Smart Contract
ADMM
Consensus in ADMM
Blockchain
System Model
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
How smart contract works
9/17

## Slide 11
System Model
ADMM
Consensus in ADMM
Blockchain
Smart Contract
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Problems in centralized methods:
monopoly incentive issues
Billing
Transparency
Security
Power Flow
10/17

## Slide 12
System Model
ADMM
Consensus in ADMM
Blockchain
Smart Contract
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Network Model
Modeled as an undirected radial graph
Set of nodes and a set of distribution lines
Index the nodes in by where node 0 represents the root node
Denote a line in by the pair where is closer to the feeder 0.
call the parent of , denoted by and call the child of
Denote the child set of as .
Thus a link can be denoted as
11/17

## Slide 13
System Model
ADMM
Consensus in ADMM
Blockchain
Smart Contract
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Network Model
For each line , let be the impedance of the line,
let be the complex current flowing from nodes to
be the complex power flowing from nodes to
On each node , let be the complex voltage
and be the net complex power injection.
We assume the complex voltage at the substation node is given and fixed.
We define
12/17

## Slide 14
System Model
ADMM
Consensus in ADMM
Blockchain
Smart Contract
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
The final equation (1d) forms a non-convex set. It is relaxed to an inequality, which yields a second-order cone constraint.
Constraints
13/17

## Slide 15
System Model
ADMM
Consensus in ADMM
Blockchain
Smart Contract
Solution
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Other variables.
Dispatchable generators
Uncontrollable loads
Renewable generators
Deferrable loads
Stationary batteries
Shapable loads
The net complex injection at a node in period is:
14/17

## Slide 16
Solution
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Objective
Apply ADMM
Over
Over
15/17

## Slide 17
Solution
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
At each iteration
each node , receives from the central aggregator, and solves:
Over and
Then sends its new to the central aggregator, who updates :
Aggregator updates Lagrange multipliers():
Stopping criteria:
16/17

## Slide 18
Solution
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Decentralized structure of the problem and programming
17/17

## Slide 19
Solution
ADMM
Consensus in ADMM
Blockchain
Smart Contract
System Model
Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Mohammad Mahmoodian
Any Question?
THANK YOU
and