## Slide 1: Part1 ADMM

## Slide 2
Distributed Optimization and Statistical Learning via the Alternating Direction Method of Multipliers

## Slide 4
Convergence

## Slide 5
We will refer to sk+1 as the dual residual at iteration k + 1, and to rk+1 = Axk+1 + Bzk+1 - c as the primal residual at iteration k + 1.

## Slide 7
Global Variable Consensus Optimization

## Slide 8
Substituting the first equation into the second shows that yk+1 = 0, i.e., the dual variables have average value zero after the first iteration. Using zk = xk, ADMM can be written as
With the average (over i = 1,...,N) of a vector denoted with an overline, the z-update can be written

## Slide 10
with the objective f1(x1) + ··· + fN(xN) separable in the xi.
The mapping from local variable indices into global variable index can be written as g = G(i, j), which means that local variable component (xi)j corresponds to global variable component zg.
General Form Consensus Optimization

## Slide 12
Part 2

## Slide 13: Blockchains for Decentralized Optimization of Energy Resources in Microgrid Networks
Eric Munsing1, Jonathan Mather2, and Scott Moura1;3

## Slide 16
part3

## Slide 17
monopoly incentive issues
trust
Microgrids and Monopoly Economics
billing

## Slide 19: Network Model
The distribution network is modeled as an undirected radial graph G(N ; E), consisting of a set of nodes N and a set of distribution lines (a.k.a. edges) E connecting these nodes. Using the notation described in [36], we index the nodes in N by i = 0; 1; : : : ; n, where node 0 represents the root node (substation) and other nodes in N represent branch nodes. We also denote a line in E by the pair (i; j) of nodes it connects where j is closer to the feeder 0. We call j the parent of i, denoted by π(i), and call i the child of j. Denote the child set of j as δ(j) := fi : (i; j) 2 Eg. Thus a link (i; j) can be denoted as (i; π(i)).

## Slide 20
For each line (i; π(i)) 2 E, let zi = ri + ixi be the impedance of the line, let Ii be the complex current flowing from nodes i to π(i), and Si = Pi + iQi be the complex power flowing from nodes i to π(i). On each node i 2 N , let Vi be the complex voltage, and si = pi + iqi be the net complex power injection. We assume the complex voltage V0 at the substation node is given and fixed. We define li := jIij2, vi := jVij2.

## Slide 22
The final equation (1d) forms a non-convex set. It is relaxed to an inequality, which yields a second-order cone constraint:

## Slide 23
s gi Dispatchable generators su i Uncontrollable loads sr i Renewable generators sd i Deferrable loads sb i Stationary batteries ss i Shapable loads
The net complex injection at a node i in period t is

## Slide 25
z := [P >; Q>; v>]> 2 R3n
xi := [sg i ; sb i; sd i ; ss i ; li]>
x~i = [Pi>; Q> i ; vi>; Pδ>(i); Q> δ(i); vπ>(i)]>

## Slide 26
At each iteration k, each node i, receives z~ik from the central aggregator, and solves
over xi; x~i
The node then sends its new x~k+1 i to the central aggregator, who computes the following update for each individual global variable zgk+1

## Slide 27
The central aggregator then updates ξi as